APPENDIX 6

FLOW REQUIREMENTS FOR FIRE FIGHTING

6.1	The Water Company shall inform the Fire Authority where it estimates that flows available will not meet the ideal requirements set out in Appendix 5 of the National Guidance Document, in the following circumstances:-

a	Notification of proposed new mains.

b	Where significant permanent changes to the existing water main network are planned.

c	Where temporary changes to the water mains network (planned or emergency) occur, which would have an impact on the water available to fight fire within the affected area.

It is recognised by both parties that the Water Company has no obligation to meet these ideal requirements and that the purpose of the information is to assist the Fire Authority in planning their requirements.

6.2	Where required by either party the Fire Authority and the Water Company shall undertake joint risk assessments, prioritised appropriately, as set out in Section 5 of the National Guidance Document ‘General principles of providing and securing water for fire fighting’.  No reasonable request to undertake a joint risk assessment, made by either party, will be refused.  Each party will normally bear its own costs for such assessments but in exceptional circumstances the parties may agree alternative arrangements.

6.3	The Water Company shall consult with the Fire Authority at the planning stage, of any proposals to make changes to the water mains network that will result in a significant change to the output of a fire hydrant.