APPENDIX 12

CHARGES

The Water Company will inform the Fire Authority of any changes to its pricing schedule at least three calendar months prior to the change. Annual increases in line with the annual inflation rate for the previous 12 months are effective from the 1st April of each year.

Price lists will include the following charges:

Example

WORK COST

Installation of fire hydrant on new main up to 150mm diameter

Adopt washout on new main up to 150mm diameter

Installation of fire hydrant on new main between 150-300mm diameter

Adopt washout on new main between 150-300mm diameter

Installation of fire hydrant on existing main up to 150mm diameter

Installation of fire hydrant on existing main between150-300mm diameter

Exchange fire hydrant (standard type)

Exchange fire hydrant (LCC type on main of less than 150mm)

Raise or lower existing fire hydrant in pit

Remove hydrant and blank off tee

Remove hydrant indicator post and plate

Replace stem or spindle cap

Remedy tight or seized spindle

Repack fire hydrant gland (involving excavation)

Repack fire hydrant gland (without excavation)

Locate fire hydrant

Repair fire hydrant chamber, frame and cover

Renew fire hydrant chamber, frame and cover

Raise/lower hydrant frame and cover

Replace fire hydrant cover only

Fix indicator post and plate (unmade ground)

Fix indicator post and plate (footpath)

Fix plate only

Minor works (up to 3 person hours)

Charge for abortive visit