APPENDIX 11

WORKMANSHIP AND MATERIALS

11.1	All hydrants installed must conform to BSEN 750/1984 and display the BS standard kite mark.  Any variation from this standard will be subject to an agreement between the Water Company and the Fire Authority.  All equipment provided by the Water Company must comply with the appropriate European Standards and satisfy the regulations listed under Provision and Use of Work Equipment Regulations 1998

11.2	Legal liability regarding the conformity of such equipment rests with the Water Company as the providers of that equipment. The onus therefore rests with the water Company to ensure that hydrants installed are compliant with the regulations.

11.3 	Proof of compliance of the equipment must be presented by the Water Company.

(Parties may wish to include a clause describing Warranty arrangements.)